## Assets
Appendix B: CeNCOOS In-Situ Observing Assets
CeNCOOS Shore Station | Operator | Latitude | Longitude | Notes | Temp | Salinity | pH | Turbidity | Fluorescence | DO | Nitrate | Weather | Depth | P.A.R. | Radiation
Trinidad Pier | HSU | 41.055 | -124.147 | since 2005 | Y | Y | Y | Y | Y | Y |  |  | Y
Humboldt Bay: Chevron Dock | HSU | 40.778 | -124.197 | Since 12/12; replacing Dock B (2003-2012) | Y | Y | Y | Y | Y | Y |  |  | Y | Y | Y
Humboldt Bay: South Bay | HSU | 40.43 | -124.13 | Since 2006, Does not report in real-time | Y | Y | Y | Y | Y | Y |  |  | Y
Humboldt Bay: Indian Island | HSU/Wiyot | 40.81 | -124.15 | Plans to make existing station real-time | Y | Y | Y | Y | Y | Y |  |  | Y
Kibesillah Hill | SSU | 39.6 | -123.789 | Does not report in real-time | Y |  |  |  | Y
Bodega Head | SSU | 38.3191 | -123.074 | Does not report in real-time | Y |  |  |  | Y
Horseshoe Cove, BML Seawater Intake | UC Davis | 38.317 | -123.071 |  | Y | Y |  |  | Y |  |  | Y
Carquinez | SFSU | 38.066 | -122.23 |  | Y | Y | Y | Y | Y | Y
Tiburon | SFSU | 37.892 | -122.447 |  | Y | Y | Y | Y | Y | Y |  | Y
Fort Point | UC Davis | 37.807 | -122.466 | Turbidity not reported R/T | Y | Y |  | Y | Y
Santa Cruz Wharf | UC Santa Cruz | 36.96 | -122.02 |  | Y | Y | Y | Y | Y | Y |  | Y
Moss Landing Seawater Intake | MLML | 36.803 | -121.792 |  | Y | Y | Y | Y | Y | Y |  | Y
Monterey: Municipal Wharf II | MLML | 36.605 | -121.889 |  | Y | Y | Y | Y | Y | Y
Morro Bay: T-Pier (BM1) | Cal Poly | 35.371 | -120.859 |  | Y | Y |  | Y | Y | Y | Y | Y
San Luis Bay: Cal Poly Pier | Cal Poly | 35.171 | -120.741 |  | Y | Y |  | Y | Y |  |  | Y
CeNCOOS Gliders | Operator | Latitude | Longitude | Notes | Temp | Salinity | Fluorescence | Currents | Acoustic Backscatter |  | DO | Light Backscatter
Monterey Bay Transect 66/67 | MBARI/SIO | variable |  |  | Y | Y | Y | Y | Y
Trinidad Head Transect (41-deg, 3.5-min N | OSU | variable | variable | 1000-m Seaglider | Y | Y | Y | Y |  |  | Y | Y
CeNCOOS Buoys | Operator | Latitude | Longitude | Notes | Temp | Salinity | pH | Turbidity | Fluorescence | DO | Nitrate | Weather
Tomales Bay | UC Davis | 38.188 | -122.928 |  | Y | Y |  | Y | Y |  |  | Y

## OA Sensors
Appendix C: CeNCOOS Platforms of Opportunity for Ocean Acidification
CO2 | pH | T/S/DO | Lat | Lon | Name | Platform | Provider | Notes
N | Y | Y | 41.0554 | -124.1471 | Trinidad Pier | Fixed Shore Platform | HSU | YSI pH
N | Y | Y | 40.81 | -124.15 | Humboldt Bay/Indian Island | Fixed Shore Platform | Wiyot/HSU | real-time pending, YSI pH
N | Y | Y | 40.7776 | -124.1965 | Humboldt Bay/Chevron Dock | Fixed Shore Platform | HSU | YSI pH
N | Y | Y | 40.7234 | -124.2233 | Humobldt Bay/South Bay | Fixed Shore Platform | HSU | not real-time, YSI pH
N | Y | N | 39.28 | -123.8 | Van Damme State Park | Rock | UC Davis | not real-time
Y | Y | Y |  |  | HIOC Burkolator/BML station | HIOC seawater intake | BML/OSU | Burkolator purchased with IOOS MSI funds
Y | Y | Y | 38.32 | -123.07 | Bodega Head | Mooring | BML
N | Y | N | 38.32 | -123.07 | Bodega Marine Reserve | Rock | BML | not real-time
Y | Y | Y | na | na | Line off Bodega Bay | Ship | BML
N | N | Y | 38.1614 | -122.8958 | Tomales Bay | Seawater intake | BML | 6-12 ft deep, not real-time; in oyster farm
N | Y | Y | 38.066 | -122.23 | Carquinez Shore Station | Fixed Shore Platform | SFSU
N | Y | Y | 37.892 | -122.447 | Tiburon Shore Station | Fixed Shore Platform | SFSU
N | Y | Y | 36.9603 | -122.0203 | Santa Cruz Shore Station | Fixed Shore Platform | UCSC | included in CA SWRCB pilot project
N | Y | N | 36.95 | -122.06 | Terrace Point | Rock | MBARI | plus discrete sampling monthly
Y | Y | Y | 36.94 | -122.08 | OA2 (Terrace Point) | Mooring | MBARI | plus discrete sampling monthly
N | Y | Y | 36.8078 | -121.771 | L01 (Elkhorn Slough) | Mooring | MBARI | included in CA SWRCB pilot project
N | Y | Y | 36.8025 | -121.7915 | Moss Landing Shore Station | Seawater intake | MLML | included in CA SWRCB pilot project
Y | Y | Y | 36.75 | -122.03 | M1 (Monterey Bay) | Mooring | MBARI | 0-300 m for T,S, currents
Y | Y | Y | 36.75 | -122.33 | M2H/46044 (Monterey Bay) | Mooring | MBARI, NDBC | 0-300 m for T,S, currents
N | Y | Y | 36.62 | -121.9 | Monterey Bay Aquarium | Seawater intake | MBA
N | Y | N | 36.62 | -121.91 | Hopkins Marine Station | Rock | MBARI | plus discrete sampling monthly
Y | Y | Y | 36.62 | -121.9 | OA1 (Hopkins Marine Station) | Mooring | MBARI | plus discrete sampling monthly
N | Y | Y | 36.605 | -121.89 | Monterey Wharf | Fixed Shore Platform | MLML
N | N | T/S | 35.17 | -120.74 | San Luis Bay: Cal Poly Pier | Profiler | Cal Poly | Dry part time. Flow through system may work
N | N | Y | 35.371 | -120.859 | BM1 (Morro Bay) | Fixed Shore Platform | Cal Poly
N | N | Y | 35.3328 | -120.8478 | BS1 (Morro Bay) | Fixed Shore Platform | Cal Poly | down for maintenance
Y | Y | Y | na | na | Monterey Bay | Surface wave glider | MBARI | deployed intermittently
Assets highlighted in gray are supported by CeNCOOS and included in Appendix B as well as in Appendix C

## HF radar
Appendix A. CeNCOOS HF Radars
CeNCOOS HF Radars | Operator | Location | Latitude | Longitude | Range | Purchased by | National Priority | Notes
Trinidad Head | UC Davis | Northern CA | 41.0734 | -124.1582 | long | COCMP | 1
Shelter Cove | UC Davis | Northern CA | 40.0334 | -124.0789 | long | COCMP | 1
Fort Bragg | UC Davis | Northern CA | 39.4398 | -123.8149 | long | COCMP | 1
Point Arena Field Station | UC Davis | Northern CA | 38.94 | -123.7356 | long | COCMP | 1
Gerstle Cove | UC Davis | Northern CA | 38.5672 | -123.3315 | standard |  |  | Does not report in real-time
Bodega Marine Lab | UC Davis | Northern CA | 38.3195 | -123.0001 | long | COCMP | 1
Bodega Marine Lab | UC Davis | Northern CA | 38.3173 | -123.0725 | standard |  | 1
Point Reyes | UC Davis | Northern CA | 38.0472 | -122.9891 | standard |  | 1
Commonweal Center, Bolinas | CODAR | Northern CA | 37.9118 | -122.7282 | standard | COCMP | 1
Slide Ranch | CODAR | Northern CA | 37.8725 | -122.5976 | standard | COCMP
Point Bonita Fog Station | CODAR | Northern CA | 37.8155 | -122.5298 | standard | COCMP | 1
Sausalito Marin Sanitary District | CODAR | SF Bay | 37.8438 | -122.4771 | short | COCMP
Romberg Tiburon Center 1 | CODAR | SF Bay | 37.8899 | -122.4461 | short | COCMP | 1
Angel Island, Point Blunt | CODAR | SF Bay | 37.8533 | -122.4192 | short |  | 1
Treasure Island | CODAR | SF Bay | 37.8305 | -122.3773 | short | COCMP | 1 | Down, radar to be relocated Spring 2016
San Francisco Exploratorium | CODAR | SF Bay | 37.8 | -122.4 | short
Crissy Field | CODAR | SF Bay | 37.8064 | -122.466 | short | COCMP | 1
Land’s End, Sutro Baths | CODAR | Central CA | 37.7794 | -122.5124 | standard | COCMP | 1
Montara Water and Sanitation | CODAR | Central CA | 37.5337 | -122.5192 | standard | COCMP | 1
Pillar Point | CODAR | Central CA | 37.4972 | -122.4995 | long | COCMP | 1
Pescadero | CODAR/NPS | Central CA | 37.2525 | -122.4164 | standard |  | 1
Big Creek Lumber | NPS/CODAR | Central CA | 37.0894 | -122.2742 | long | CODAR | 1
Santa Cruz | NPS | Central CA | 36.9492 | -122.0661 | standard
Moss Landing | NPS | Central CA | 36.8037 | -121.7879 | standard
Point Pinos | NPS | Central CA | 36.6368 | -121.9356 | standard | COCMP |  | Not reporting in real time
Granite Canyon | NPS | Central CA | 36.4395 | -121.9222 | standard |  | 1
Point Sur Long Range | NPS | Central CA | 36.3058 | -121.9013 | long |  | 1 | Now on Pt Sur Rock, power problems at site.

## Sheet1
Appendix D: CeNCOOS Modeling Assets (supported or served by CeNCOOS)
Model | Investigator | Support? | Resolution-km
ROMS California | Edwards, Moore | yes | 3
ROMS West Coast | Chao | yes | 10
COAMPS atmos. | Doyle | yes | 4
NCEP Global Forecast System |  | no
HYCOM ocean |  | no | 7
NCOM ROMS (Navy) |  | no | 3